## 1 BioRad spin col
1. | Purpose/Introduction
1.1. | Purification of N-linked glycopeptides from body fluids or tissues
2. | Materials and Equipment
2.1. | Affi-Gel® Hz Hyrazide Gel: |  | Bio-Rad (Cat# 153-6047)
2.2. | Oxidizer (sodium periodate): |  | Bio-Rad (Cat# 153-6055)
2.3. | Glycosidase: |  | New England Biolabs (Cat# P0705)
2.4. | Econo-Pac 10DG column: |  | Bio-Rad (Cat# 732-2010)
2.5. | Trypsin: |  | Promega
3. | Health and Safety
3.1. | Avoid contact and inhalation of sodium periodate, it is a powerful oxidant. It may react violently with reducing agents, hydrides and finely powdered metals. Wear glove and eye protection
4. | Procedure
4.1 | Prepare buffers
| 4.1.1. | Coupling Buffer: 100 mM NaAC, 150 mM NaCl, adjust to pH 5.5 with acetic acid.
| 4.1.2. | Soduim Periodate (made fresh immediately prior to use): 20 mg/ml (make sure it is completely in solution)
| 4.1.3. | Urea buffer (prepare shortly before use): 8 M urea, 0.4 M NH4HCO3
| 4.1.4. | NaCl: 1.5 M NaCl
| 4.1.5. | Acetonitile buffer: 80% MeCN, 0.1% TFA
| 4.1.6. | 100% methanol
| 4.1.7. | Ammonium bicarbonate: 0.1 M NH4HCO3
4.2. | Change proteins into coupling buffer using Biorad Econo-Pac column.
| 4.2.1. | Remove upper cap from column and pour off the excess buffer above the top frit.
| 4.2.2. | Add 20 ml of coupling buffer to the column (fill to the 30 ml mark), and snap off the bottom tip to start the column flowing.
| 4.2.3. | Allow the coupling buffer to drain to the top frit. The column will not run dry. Flow will stop when the buffer level reaches the top frit.
| 4.2.4. | Add up to a 3 ml sample to the column.
|  | 4.2.4.1. | If the sample is less than 3.0 mls add the sample, run it into the column and then add enough buffer to make the buffer+sample volume equal to 3 mls (e.g. 2.1 ml sample + 0.9 ml coupling buffer), and let it run into the column. This will bring the sample to the bottom of the column and it will start to elute immediately when additional coupling buffer is added to the column.
| 4.2.5. | Add a volume of sample buffer equal to 1.2 x sample size (e.g. here 2.1 x 1.2 or 2.52 mls) and collect the eluent.
| 4.2.6. | Note volume and save an appropriate volume of sample.
4.3. | Oxidize the sample
| 4.3.1. | Add sodium periodate (20mg/ml) to the sample at one-fifth the eluted volume (eg. 200 µl periodate solution to m1 ml of sample). Secure cap and cover the tube with foil, rotate the sample end-over-end for 1 hour at room temperature.
| 4.3.2. | Remove the sodium periodate from samples using desalting column (see 4.2.1 – 4.2.6 above) Note volume and save an appropriate (50 µl) sample.
4.4. | Wash Affi-Gel® Hz Hyrazide Gel.
| 4.4.1. | Resuspend gel, remove 2 ml of resuspended gel for each 5 mg of protein.
| 4.4.2. | Wash 3 times with coupling buffer.
| 4.4.3. | Remove the coupling buffer by spinning the gel at 1000 x g (rcf) for 2 minutes (Eppendorff centr.)
4.5. | Couple the protein to the Affi-Gel® Hz Hyrazide Gel.
| 4.5.1. | Add the coupling buffer equilibrated Affi-Gel® Hz Hyrazide Gel to sample.
| 4.5.2. | Cap securely and rotate end-over-end for 10-24 hours at room temperature.
| 4.5.3. | After coupling reaction is complete, spin down the gel at 1000 x g for 10 min (Eppendroff centr.), remove the supernatant (this is non-glycosylated proteins, save it until the coupling efficiency is determined). Note volume and save a 50 µl sample to compare pre and post coupling.
| 4.5.4. | Non-glycoproteins associated with glycoproteins are washed away extensively by washing the resin 3 times with volume of urea buffer equal to the volume of the gel slurry. The proteins on gel are denatured in urea buffer (a volume equal to the original slurry volume) at 55°C for 30 min
| 4.5.5. | Wash 3 times with urea buffer.
4.6. | Trypsinization
| 4.6.1. | After the last urea wash. Remove excess urea buffer, dilute the 4 times with MilliQ water.
| 4.6.2. | Add trypsin is at a concentration of 1 µg of trypsin / 100 µg of protein.
| 4.6.3. | Digest at 37°C with shaking overnight. If the reaction vessel is a tube, attach the tube to the shaking apparatus at a horizontal or 45° angle to prevent settling of the gel.
4.7. | Removal of tyrpsin-released peptides
| 4.7.1. | Wash the gel with a volume of 1.5 M NaCl equal to original slurry, 3 times
| 4.7.2. | Wash the gel with a volume of 80% MeCN / 0.1% TFA equal to original slurry, 3 times
| 4.7.3. | Wash the gel with a volume of 100% methanol equal to original slurry, 3 times
|  | 4.7.3.1. | Wash the gel with a volume of NH4HCO3 equal to original slurry, 6 times.
| 4.7.4. | N-linked glycopeptides release
|  | 4.7.4.1. | Add one gel volume of NH4HCO3 and digest the gel with peptide-N-glycosidase O/N (~5 µl /20 mg original protein 100,000U/200 µl).
|  | 4.7.4.2. | Spin down the gel and save the supernatant.
|  | 4.7.4.3. | Wash the gel 2 times 80% MeCN / 0.1% TFA and combine those washes with supernatant.
|  | 4.7.4.4. | Dry down the combined washes and supernatant. To remove residual NH4HCO3 resuspend in MeCN / 0.1% TFA and redry. Repeat this until NH4HCO3 content no longer changes.
| 4.7.5. | Determine coupling efficiency by running protein assay on saved aliquot
|  | 4.7.5.1. | Run 10, 50 and 100 fold dilutions.

## 2 Millipore spin col
1. | Purpose/Introduction
1.1. | Purification of N-linked glycopeptides from body fluids or tissues
2. | Materials and Equipment
2.1. | Affi-Gel® Hz Hyrazide Gel: |  | Bio-Rad (Cat# 153-6047)
2.2. | Oxidizer (sodium periodate): |  | Bio-Rad (Cat# 153-6055)
2.3. | Glycosidase: |  | New England Biolabs (Cat# P0705)
2.4. | Microcon spin column YM-3: |  | Millipore (Cat# 42403)
2.5. | Trypsin: |  | Promega
3. | Health and Safety
3.1. | Avoid contact and inhalation of sodium periodate, it is a powerful oxidant. It may react violently with reducing agents, hydrides and finely powdered metals. Wear glove and eye protection
4. | Procedure
4.1 | Prepare buffers
| 4.1.1. | Coupling Buffer: 100 mM NaAC, 150 mM NaCl, adjust to pH 5.5 with acetic acid.
| 4.1.2. | Soduim Periodate (made fresh immediately prior to use): 20 mg/ml (~94 mM, make sure it is completely in solution)
| 4.1.3. | Urea buffer (prepare shortly before use): 8 M urea, 0.4 M NH4HCO3
| 4.1.4. | NaCl: 1.5 M NaCl
| 4.1.5. | Acetonitile buffer: 80% MeCN, 0.1% TFA
| 4.1.6. | 100% methanol
| 4.1.7. | Ammonium bicarbonate: 50 mM NH4HCO3
4.2. | Change proteins into coupling buffer using Millipore Microcon spin column, e.g. after ICAT labeling.
| 4.2.1. | Add ICAT labeled protein to 500µl Microcon spin column YM-3 centrifuge ~50min @ 14000g
| 4.2.2. | Add 100-200µl coupling buffer and spin again
| 4.2.3. | Bring up to 200µl with coupling buffer
4.3. | Oxidize the sample
| 4.3.1. | Add sodium periodate (20mg/ml) to the sample at one-fifth the eluted volume (eg. 200 µl periodate solution to 1 ml of sample → 19mM). Secure cap and cover the tube with foil, rotate the sample end-over-end for 45min at room temperature.
| 4.3.2. | Remove the sodium periodate from samples using spin column (see 4.2. above) Note volume and save an appropriate (4 µl) sample.
4.4. | Wash Affi-Gel® Hz Hyrazide Gel.
| 4.4.1. | Resuspend gel, remove 2 ml of resuspended gel for each 5 mg of protein.
| 4.4.2. | Wash 3 times with coupling buffer.
| 4.4.3. | Remove the coupling buffer by spinning the gel at 1000 x g (rcf) for 2 minutes (Eppendorff centr.)
4.5. | Couple the protein to the Affi-Gel® Hz Hyrazide Gel.
| 4.5.1. | Add the coupling buffer equilibrated Affi-Gel® Hz Hyrazide Gel to sample.
| 4.5.2. | Cap securely and rotate end-over-end for 10-24 hours at room temperature.
| 4.5.3. | After coupling reaction is complete, spin down the gel at 1000 x g for 10 min (Eppendroff centr.), remove the supernatant (this is non-glycosylated proteins, save it until the coupling efficiency is determined). Note volume and save a 50 µl sample to compare pre and post coupling.
| 4.5.4. | Non-glycoproteins associated with glycoproteins are washed away extensively by washing the resin 1 time with volume of urea buffer equal to the volume of the gel slurry.
| 4.5.5. | The proteins on gel are denatured in urea buffer (a volume equal to the original slurry volume) at 55°C for 30 min, which will also release non-glycoproteins from complexes.
| 4.5.6. | Wash 3 times with urea buffer.
| 4.5.7. | Combine d0/d8 slurry, if applicable
4.6. | Trypsinization
| 4.6.1. | After the last urea wash. Remove excess urea buffer, dilute the 4 times with MilliQ water.
| 4.6.2. | Add trypsin at a concentration of 1 µg of trypsin / 100 µg of protein.
| 4.6.3. | Digest at 37°C with shaking overnight. If the reaction vessel is a tube, attach the tube to the shaking apparatus at a horizontal or 45° angle to prevent settling of the gel.
4.7. | Removal of tyrpsin-released peptides
| 4.7.1. | Wash the gel with a volume of 1.5 M NaCl equal to original slurry, 3 times
| 4.7.2. | Wash the gel with a volume of 80% MeCN / 0.1% TFA equal to original slurry, 3 times
| 4.7.3. | Wash the gel with a volume of 100% methanol equal to original slurry, 3 times
|  | 4.7.3.1. | Wash the gel with a volume of 50 mM NH4HCO3 equal to original slurry, 6 times.
| 4.7.4. | Release of N-linked glycopeptides
|  | 4.7.4.1. | Add one gel volume of NH4HCO3 and digest the gel with peptide-N-glycosidase O/N (~5 µl /20 mg original protein 100,000U/200 µl).
|  | 4.7.4.2. | Spin down the gel and save the supernatant.
|  | 4.7.4.3. | Wash the gel 2 times 80% MeCN / 0.1% TFA and combine those washes with supernatant.
|  | 4.7.4.4. | Dry down the combined washes and supernatant. To remove residual NH4HCO3 resuspend in MeCN / 0.1% TFA and redry. Repeat this until NH4HCO3 content no longer changes.
| 4.7.5. | Optional: Determine coupling efficiency by running protein assay on saved aliquot
|  | 4.7.5.1. | Run 10, 50 and 100 fold dilutions.

## 3 tissue and membrane
1. | Purpose/Introduction
1.1. | Purification of N-linked glycopeptides from tissues or other membrane proteins
2. | Materials and Equipment
2.1. | Affi-Gel® Hz Hyrazide Gel: |  | Bio-Rad (Cat# 153-6047)
2.2. | Oxidizer (sodium periodate): |  | Bio-Rad (Cat# 153-6055)
2.3. | Glycosidase: |  | New England Biolabs (Cat# P0705)
2.4. | Microcon spin column YM-3: |  | Millipore (Cat# 42403)
2.5. | Trypsin: |  | Promega
3. | Health and Safety
3.1. | Avoid contact and inhalation of sodium periodate, it is a powerful oxidant. It may react violently with reducing agents, hydrides and finely powdered metals. Wear glove and eye protection
4. | Procedure
4.1 | Prepare buffers
| 4.1.1. | Coupling Buffer: 100 mM NaAC, 150 mM NaCl, 0.5% SDS, adjust to pH 5.5 with acetic acid.
| 4.1.2. | Soduim Periodate (made fresh immediately prior to use): 20 mg/ml (make sure it is completely in solution)
| 4.1.3. | Urea buffer (prepare shortly before use): 8 M urea, 0.4 M NH4HCO3, 0.5% SDS
| 4.1.4. | NaCl: 1.5 M NaCl
| 4.1.5. | Acetonitile buffer: 80% MeCN, 0.1% TFA
| 4.1.6. | 100% methanol
| 4.1.7. | Ammonium bicarbonate: 50 mM NH4HCO3
4.2. | Change proteins into coupling buffer using Millipore Microcon spin column, e.g. after ICAT labeling.
| 4.2.1. | Add ICAT labeled protein to 500µl Microcon spin column YM-3 centrifuge ~50min @ 14000g
| 4.2.2. | Add 100-200µl coupling buffer and spin again
| 4.2.3. | Bring up to 200µl with coupling buffer
4.3. | Oxidize the sample
| 4.3.1. | Add sodium periodate (20mg/ml) to the sample at one-fifth the eluted volume (eg. 200 µl periodate solution to 1 ml of sample). Secure cap and cover the tube with foil, rotate the sample end-over-end for 30-45min at room temperature.
| 4.3.2. | Remove the sodium periodate from samples using spin coulumn (see 4.2. above). Note volume and save an appropriate (4 µl) sample.
4.4. | Wash Affi-Gel® Hz Hyrazide Gel.
| 4.4.1. | Resuspend gel, remove 2 ml of resuspended gel for each 5 mg of protein.
| 4.4.2. | Wash 3 times with coupling buffer.
| 4.4.3. | Remove the coupling buffer by spinning the gel at 1000 x g (rcf) for 2 minutes (Eppendorff centr.)
4.5. | Couple the protein to the Affi-Gel® Hz Hyrazide Gel.
| 4.5.1. | Add the coupling buffer equilibrated Affi-Gel® Hz Hyrazide Gel to sample.
| 4.5.2. | Cap securely and rotate end-over-end for 10-24 hours at room temperature.
| 4.5.3. | After coupling reaction is complete, spin down the gel at 1000 x g for 10 min (Eppendroff centr.), remove the supernatant (this is non-glycosylated proteins, save it until the coupling efficiency is determined). Note volume and save a 50 µl sample to compare pre and post coupling.
| 4.5.4. | Non-glycoproteins associated with glycoproteins are washed away extensively by washing the resin 1 time with volume of urea buffer equal to the volume of the gel slurry.
| 4.5.5. | The proteins on gel are denatured in urea buffer (a volume equal to the original slurry volume) at 55°C for 30 min, which will also release non-glycoproteins from complexes.
| 4.5.6. | Wash 3 times with urea buffer.
| 4.5.7. | combine d0/d8 slurry, if applicable
4.6. | Trypsinization
| 4.6.1. | After the last urea wash. Remove excess urea buffer, dilute the 4 times with MilliQ water.
| 4.6.2. | Add trypsin at a concentration of 1 µg of trypsin / 100 µg of protein.
| 4.6.3. | Digest at 37°C with shaking overnight. If the reaction vessel is a tube, attach the tube to the shaking apparatus at a horizontal or 45° angle to prevent settling of the gel.
4.7. | Removal of tyrpsin-released peptides
| 4.7.1. | Wash the gel with a volume of 1.5 M NaCl equal to original slurry, 3 times
| 4.7.2. | Wash the gel with a volume of 80% MeCN / 0.1% TFA equal to original slurry, 3 times
| 4.7.3. | Wash the gel with a volume of 100% methanol equal to original slurry, 3 times
| 4.7.4. | Wash the gel with a volume of NH4HCO3 equal to original slurry, 6 times.
4.8. | Release of N-linked glycopeptides
| 4.8.1. | Add one gel volume of NH4HCO3 and digest the gel with peptide-N-glycosidase O/N (~5 µl /20 mg original protein 100,000U/200 µl).
| 4.8.2. | Spin down the gel and save the supernatant.
| 4.8.3. | Wash the gel 2 times 80% MeCN / 0.1% TFA and combine those washes with supernatant.
| 4.8.4. | Dry down the combined washes and supernatant. To remove residual NH4HCO3 resuspend in MeCN / 0.1% TFA and redry. Repeat this until NH4HCO3 content no longer changes.
| 4.8.5. | Optional: Determine coupling efficiency by running protein assay on saved aliquot
| 4.8.6. | Run 10, 50 and 100 fold dilutions.

## 4 Biocytin Hydrazide
Cell surface labeling of glycoproteins with Biocytin Hydrazide
Purpose
To label cell surface proteins with hydrazide biotin tag to isolate glycoprotein via avidin affinity chromatography.
Materials
- Sodium meta-periodate solution for glycoproteins: 10 mM sodium meta-periodate (2.1 mg/ml) in cold (4oC) PBS. Prepare fresh.
- Labeling solution: 100 mM sodium acetate, pH 5.5, prepare fresh.
- EZ-Link™ Biocytin Hydrazide solution: 2 mM biocytin hydrazide (386.51 g/mol) in labeling solution (0.77 mg/ml). Store at 4°C, use within 2 months.
- Stop solution: 0.1 M Tris, pH 7.5
- 25 x Protease inhibitor stock solution: 1 pill in 2 ml H2O; working solution 1x
Method
- Wash cells twice at RT with PBS
- Incubate with 10 mM Sodium meta-periodate solution (~2-3 ml; ~ 108 cells/ml) at RT for 30min in the dark
Paper: 2 mM sodium periodate (0.43 mg/ml) at 4oC for 15 min in the dark
Hui: 19 mM sodium periodate (4mg/ml), RT, 45 min in the dark
Pierce: 10 mM sodium periodate (2.14 mg/ml), RT, 30 min in the dark
- Dilute cells with PBS (fill up tube 15 ml) and pellet
- Wash cells twice with labeling solution
- Resuspend in 2 mM Biocytin Hydrazide solution (~2-3 ml, same volume as sodium periodate sol.)
- Incubate at RT for 75 min, rotate end-over-end
Paper: RT for 75 min with agitation
Hui: RT, 10-24 hrs, rotate end-over-end
Pierce: RT, 1 hr, terminate with stop solution
- Pellet cells and wash twice with PBS at RT (and for testing split cells in half)
- Lyse the cells
- Microsomal prep or whole cell lysate
- Solubilize with NP-40 or Chaps containing ICAT labeling buffer
- red/alk (ICAT label)
- Avidin affinity, elute
- N-glycosidase treatment and tryptic digest
- Acid cleavage
- Avidin
OR
- Solubilize with NP-40 or Chaps buffer (<1% NP-40 or Chaps), e.g. 0.5% NP-40, 10mM EGTA, 10mM Tris pH 8.0
- Avidin affinity, elute with acid
- Reduce volume and bring buffer to ICAT labeling buffer
- red/alk (ICAT label)
- N-glycosidase treatment and tryptic digest
- SCX separation
- Avidin affinity, elute
- Acid cleavage
- Analyze both Avidin FT and eluate
For testing:
- Split cells in half for whole cell lysate do everything with NP-40 and duplicate with TritonX-100
- Whole cell lysate1: add lysis buffer (TNT): 25 mM Tris pH 8.0, 150 mM NaCl, 1% Triton-X 100, protease inhibitor to one half and 25 mM Tris pH 8.0, 150 mM NaCl, 1% NP-40, protease inhibitor to the other half (~108 cells/ml)
- Incubate 20 min on ice with agitation: rock 20-30 minutes at 4 degrees. (Here, Lisa has been keeping the tubes on ice and inverting them every few minutes).
- Low speed spin to remove insoluble debris (nuclei) (microfuge max speed for 10 min)
- Wash pellet once with lysis buffer
- Combine supernatants3 keep pellet for SDS-PAGE analsysi2
- Dilute supternatants to 0.5% NP-40 with water
- Load on equilibrated avidin colum, keep flow-through for SDS-PAGE analysis4
- Wash column with loading buffer5
- Incubate with N-glycosidase over night rotating end over end
- Elute deglycosylated protein wash resin with loading buffer 6
- Elute remaining protein with Biotin buffer 7
Sample for SDS-PAGE (run three gels: silver stain and glycoprotein stain, AvidinHRP stain)
1. Whole cell lysate
2. Low speed spin pellet
3. Low speed spin supernatant
4. Flow-through of avidin column
5. Wash fraction of avidin column
6. Deglycosylated protein
7. Second eluate of avidin (proteins not released by N-glycosidase)
8. (Optional N-glycosidase)
9. Glycoprotein control
INSTRUCTIONS |  |  |  | Pierce
3747 N. Meridian Road, P.O. Box 117
Rockford, IL 61105
Telephone 800-8-PIERCE or 815-968-0747
Fax 815-968-7316 or 800-842-5007
EZ-Link™ Biocytin Hydrazide
28020 |  |  |  |  | 451
Introduction
EZ-Link™ Biocytin Hydrazide reacts with aldehydes generated by periodate oxidation of cis-diols (Figure 2). This reaction is shown in Figure 3. The binding of biocytin hydrazide to antibodies occurs on the Fc portion away from the antigenbinding site, maintaining optimal antigen-binding capabilities. This derivative may be used in immunoblotting and other applications, eliminating the need for radioactive material. Biocytin Hydrazide is similar to Biotin Hydrazide (Product No. 21339), but is more soluble.3
A 10 mM concentration of sodium periodate can be used to oxidize carbohydrates to aldehydes. At 1 mM, sodium periodate oxidizes primarily sialic acid residues.4
Hydrazide-containing biotin derivatives have been used in a variety of applications. The biotinylation of mouse monoclonal antibodies of both IgG and IgM classes has been reported.5 These conjugates were found to be extremely stable and retained full immunological activity. The receptor for plasma low-density lipoprotein (LDL) has been detected on immunoblots using biotinylated LDLs. This derivatization technique does not affect the binding capabilities in this receptor ligand interaction.6 Biotinylated ß-nerve growth factor (NGF) has been prepared using a hydrazide derivative of biotin. The biotinylated growth factor was able to bind to NGF receptors as effectively as native NGF. Both biotinylated NGF and native NGF were equally effective in promoting neurite outgrowth from PC12 cells.7 In another application, biocytin hydrazide has been shown to be effective for labeling erythrocyte membranes.8 Its use for labeling cytosine residues in DNA and RNA via a bisulfitecatalyzed transamination reaction has also been postulated.3
Product Description
NUMBER | DESCRIPTION
28020 |  | EZ-Link™ Biocytin Hydrazide, 25 mg
Store at room temperature, protected from moisture.
Instructions for Use
Example Protocol for Coupling Biotin Hydrazide to Glycoproteins
Since the temperature of oxidation and concentration of periodate affects the reaction, and glycosylation varies with each protein, conditions for your glycoprotein will need to be optimized individually.
Materials
A. EZ-Link™ Biocytin Hydrazide solution: 5 mM biocytin hydrazide in labeling solution. Store at 4°C, use within 2 months.
B. Glycoprotein solution: 0.1 mg/ml in labeling solution.
C. Labeling solution: 100 mM sodium acetate, 0.02% sodium azide, pH 5.5.
D. Sodium meta-periodate solution for glycoproteins: 30 mM sodium meta-periodate (6.4 mg/ml). Prepare fresh.
or
Sodium meta-periodate solution for preferential biotinylation of sialic acid residues 4: 3 mM sodium meta-periodate (0.6 mg/ml). Prepare fresh.
E. Stop solution: 0.1 M Tris, pH 7.5.
F. Polyacrylamide desalting column, such as D-Salt™ Disposable Plastic Desalting Column, Product No. 43240.
Method
1. Add 300 µl of sodium meta-periodate solution to 600 µl of glycoprotein solution.
Note: Sialic acid residues are preferentially biotinylated by using the 3 mM sodium meta-periodate stock solution at 0°C.
2. Incubate in the dark for 30 minutes at room temperature to produce aldehyde groups from the carbohydrates.
3. Remove the excess sodium periodate with a desalting column that has been pre-equilibrated with labeling solution. Collect fractions and monitor the absorbance of the fractions at A280 or a protein assay such as Coomassie® Plus, Product No. 23236. Pool the fractions containing high protein concentrations.
4. Add 300 µl of biocytin hydrazide solution to the pooled fractions.
5. Incubate for 1 hour at room temperature.
6. Terminate the reaction by adding 200 µl of stop solution.
7. Remove unreacted biocytin hydrazide by centrifuging the product at 1000 x g for 15-30 minutes using a micro-concentrator or desalt again and bring the sample up to its original volume in stop solution. Determine the protein concentration.
8. Store the sample using conditions that keep the protein stable.
References
1. Green, N.M. (1975). Avidin. In Adv. Protein Chemistry, Academic Press, New York (Anfinsen, C.B.; Edsall, J.T.; Richards, F.M. eds.) 29, 85-133.
2. O’Shannessy, D.J. and Quarles, R.H. (1985). Specific conjugation reactions of the oligosaccharide moieties of immunoglobulins. J. Appl. Biochem. 7, 347-355.
3. Reisfeld, A., Rosenberg, B.H., Bayer, E.A. and Wilchek, M. (1987). Nonradioactive hybridization probes prepared by the reaction of biotin hydrazide with DNA. Biochem. Biophys. Res. Comm. 142, 519-526.
4. O’Shannessy, D.J., Voorstad, P.J. and Quarles, R.H. (1987). Quantitation of glycoproteins on electroblots using the biotin-streptavidin complex. Anal. Biochem. 163, 204-209.
5. O’Shannessy, D.J., Doberson, M.J. and Quarles, R.H. (1984). A novel procedure for labelling immunoglobulins by conjugation to oligosaccharide moieties. Immunol. Lett. 8, 273-277.
6. Wade, D.P., Knight, L. and Soutar, A.K. (1985). Detection of the low density-lipoprotein receptor with biotin-low density lipoprotein. Biochem. J. 229, 785-790.
7. Rosenberg, M.B., Hawrot, E. and Breakefield, X.O. (1986). Receptor binding activities of biotinylated derivatives of ß-nerve growth factor. J. Neurochem. 46, 641-648.
8. Roffman, E., Meromsky, L., Ben-Hur, H., Bayer, E.A. and Wilchek, M. (1986). Selective labeling of functional groups on membrane proteins or glycoproteins using reactive biotin derivatives and 125I-streptavidin. Biochem. Biophys. Res. Comm. 136, 80-85.
9. Bayer, E.A., Ben-Hur, H. and Wilchek, M. (1988). Biocytin hydrazide–a selective label for sialic acids, galactose, and other sugars in glycoconjugates using avidin-biotin technology. Anal. Biochem. 170, 271-281.
10. Green, N.M. (1965). A spectrophotometric assay for avidin and biotin based on binding of dyes by avidin. Biochem. J. 94, 23c-24c
© Pierce Chemical Company, 8/ 1997. Printed in U.S.A.
HN NH
O
S
—(CH2)4—C—NH—(CH2)4—CH—C—NH—NH2
O O
NH2
EZ-Link™ Biocytin Hydrazide
MW 386.51
19.7Å
R—C—H + H—C—R' R—C—C—R'
NaIO4
Oxidation of a cis-diol to an aldehyde
O O OH OH
H H
Figure 2.
Figure 1.
HN NH
O
S
—(CH2)4—C—NH—(CH2)4—CH—C—NH—NH2
O
NH2
O
+ HC—R
HN NH
O
S
—(CH2)4—C—NH—(CH2)4—CH—C—HNN = CH—R
O
NH2
O
O
Figure 3.
Reaction of EZ-Link™ Biocytin Hydrazide with an aldehyde
INSTRUCTIONS
Sodium meta-Periodate
20504 |  |  |  |  | 1161w
Product Description
Number |  |  | Description
20504 |  |  | Sodium meta-Periodate, 25 gm
ACS Reagent Grade white, crystalline powder. Store at room temperature.
Carbohydrates on proteins and peptides provide convenient sites for modification or conjugation reactions. Coupling through polysaccharide chains often can direct the reaction away from critical amino acids in the polypeptide chain, thus preserving activity. Polysaccharides on glycoproteins can be specifically targeted through mild oxidation with sodium meta-periodate. Periodate cleaves adjacent hydroxyl groups in sugar residues to create highly reactive aldehyde functionalities. The amount of periodate can be adjusted to cleave certain sugars in the polysaccharide chain selectively. For example, a concentration of 1 mM sodium periodate specifically oxidizes sialic acid residues to aldehydes, leaving all other monosaccharides unreacted. Increasing the concentration to 10 mM, however, will result in oxidation of other sugars in the carbohydrate chain, including galactose and mannose. The generated aldehydes can be used in coupling reactions with amine- or hydrazide-containing molecules to form covalent linkages. Amines can react with formyl groups under reductive amination conditions using a suitable reducing agent such as sodium cyanoborohydride. The result of this reaction is a stable secondary amine linkage. Alternatively, hydrazides spontaneously react with aldehydes to form hydrazone linkages, although the addition of a reducing agent increases the efficiency of the reaction.
Sample Preparation
Note: Steps 2 and 3 of this preparation are light-sensitive and must be performed in an amber vial.
1. Dissolve 0.5-10 mg glycoprotein or antibody in 1 ml of 0.1 M sodium phosphate buffer, pH 7.0.
Note: The sample volume should not exceed 10-20% of the volume of the desalting column used in step 5 below.
2. Weigh out 5 mg of sodium meta-periodate in a 6 ml amber vial.
3. Add the glycoprotein solution to the amber vial containing the sodium meta-periodate and gently swirl the vial until the powder is dissolved. (5 mg/ml = 25 mM)
4. Incubate the sample for 30 minutes at room temperature.
5. Apply the sample to an equilibrated 5 ml desalting column (eg., see Pierce Product Nos. 43230, 43426, 43240 and 20449) and allow it to enter the gel bed
6. Add 0.5 ml of the 0.1 M sodium phosphate buffer, pH 7.0, and allow it to enter the gel bed.
7. Collect three 2 ml fractions using the 0.1 M sodium phosphate buffer, pH 7.0, and monitor the protein elution by A280. (The first fraction should contain the oxidized protein.)
References
1. Cabacungan, J.C., Ahmed, A.I. and Feeney, R.E. (1982). Amine boranes as alternative reducing agents for reductive alkylation of proteins. Anal. Biochem. 124, 272-278
2. Dottavio-Martin, D. and Ravel, J.M. (1978). Radiolabeling of proteins by reductive alkylation with [14C]-formaldehyde and sodium cyanoborohydride. Anal. Biochem. 87, 562.
3. Hermanson, G.T. (1996). Bioconjugate Techniques, Academic Press. This book is available as Product No. 20002.

## Periodate conc
sodium periodate | 213.91 | g/mol
| 1 | mM | 0.21391 | mg/ml
| 2 | mM | 0.42782 | mg/ml
| 3 | mM | 0.64173 | mg/ml
| 5 | mM | 1.0696 | mg/ml
| 10 | mM | 2.1391 | mg/ml
| 20 | mM | 4.2782 | mg/ml
| 30 | mM | 6.4173 | mg/ml
| 40 | mM | 8.5564 | mg/ml
| 50 | mM | 10.6955 | mg/ml
| 94 | mM | 20.1075 | mg/ml
| 100 | mM | 21.391 | mg/ml
biocytin hydrazid | 386.15 | g/mol
| 1 | mM | 0.38615 | mg/ml
| 1.67 | mM | 0.64487 | mg/ml
| 2 | mM | 0.7723 | mg/ml
| 3 | mM | 1.1584 | mg/ml
| 5 | mM | 1.9307 | mg/ml
| 10 | mM | 3.8615 | mg/ml
| 20 | mM | 7.723 | mg/ml
| 30 | mM | 11.5845 | mg/ml
| 40 | mM | 15.446 | mg/ml
| 50 | mM | 19.3075 | mg/ml
| 94 | mM | 36.2981 | mg/ml
| 100 | mM | 38.615 | mg/ml

## FlowChart
elute non-glyco-proteins,
combine d0/d8 labeled proteins,
digest with Trypsin,
avidin purification of Cys-cont. peptides
d0/d8 differentia ICAT labeled peptide analysis
avidin purification of Cys-cont. non-glyco-peptides
d0/d8 differential ICAT labeled peptide analysis
combine
d0/d8 differential labeled peptide analysis
Protein mixture 1
d0
ICAT label
bind glycoproteins
to Hydrazin resin
digest with Trypsin,
elute non-glycopeptides
digest with N-glycosidase
elute N-glycopeptides
d0 label
Protein mixture 2
d8
ICAT label
bind glycoproteins
to Hydrazin resin
digest with Trypsin,
elute non-glycopeptides
digest with N-glycosidase
elute N-glycopeptides
d6 or d8 label